## Slide 1
Identify epibiont (bryozoan or hydrozoan)
via microscopy on a blade
Extract species DNA (Dneasy Blood and tissue)
Assess concentration (Qubit) and Quality (Nanodrop)
PCR Amplification of COI gene using generic primers
Run on gel to ensure fragment size is expected for the species
BLAST search sequence region to ID species
Sequence amplified COI gene region (Dundee)
Database of biofouling species per taxon hydrozoa or bryozoa
Repeat above steps for all Eppendorfs within a taxon (Hydrozoans/Bryozoans)
Use resulting database of species/bases Build a phylogenetic tree to understand species relationships within the taxon
Species are few <10
Whole genome sequencing – Oxford Nanopore in UoG
Design species-specific primers targeting repeat regions DNA regions
Design species-specific quantitative assays (qPCR / ddPCR)
Identify high copy number repeats – linux software / genomic mining
SINGLE SPECIES IDENTIFICATION
GENETIC
DATABASE
SPECIES-SPECIFIC PRIMERS
Many species (i.e. >15 : cost-dependent of WGS)
Develop primers that target multiple related species
Using alignments of generic markers: e.g. CO1, 18S, 24S
Validate clade primer by amplifying each species/Eppendorf and amplicon deep sequence (Gene whizz)
Confirm clade-level specificity and group genetic diversity
Consult the phylogenetic tree of e.g. hydrozoan to identify taxonomic level for primer development
CLADE-SPECIFIC PRIMERS
Decide if focus on species-specific targets and / or broader taxonomic group
Stage 1 : Epibiont sequencing and primer design

## Slide 2
Step 2: Primer validation and use in environmental samples
Decide if focus on species-specific or broader taxonomic group
Align sequences from conserved loci (CO1, 18S, 24S) within clade
Design primers to amplify only desired species group
Validate designed primers
Test with known +/- samples to confirm specificity
Optimise annealing temperature and reaction conditions
Perform qPCR / ddPCR
Filter plankton eDNA from farm seawater and extract
Quantify target species or clades within a sample
Parametrize DNA results with environmental conditions
PROJECT AIM
Amplify target DNA (species-specific or clade-level) using designed primers (PCR)
Sequence amplification product using deep sequencing
(illumina/MiSeq/NextSeq)
Generate high-throughput sequence data for each primer
Validate amplified DNA aligns with target species / clade specifically
Identify off-target amplification / biases / cross-reactivity
Refine primer specificity
DEEP-SEQUENCING VALIDATION
DS validates primer specificity by ensuring only target regions amplified
Multiple replicates and +/- controls to detect contamination / non-specific binding
Libraries are quantified prepared/purified sample amplicons
Step 3: Additional Validation (Optional)