# HMW-SAFE ETHANOL PRECIP (Steps 1–6, no vortex)

General handling: chill rotor to 4 °C; use wide-bore tips or cut tips; no vortexing; mix by gentle inversions; avoid repeated pipetting; keep tubes upright so pellets form under the hinge.

- Salt + ethanol (mix gently)

  - Add 4.8 µL 3 M NaOAc to 48 µL DNA. Flick gently 2–3×, brief spin.

  - Add 132 µL ice-cold 100% EtOH.

  - Mix by slow inversion 10–12× (do not vortex). If DNA is very dilute, add 1 µL glycogen (20 mg/mL) before ethanol.

- Precipitation

  - Incubate −20 °C for 60 min (or overnight for maximum recovery).
Rapid option: −80 °C for 30–60 min.

- Pellet DNA

  - Spin ≥15,000×g (≈13,000 rpm), 4 °C, 30 min. Hinge facing outward of centrifuge.

  - Carefully decant supernatant in one motion; do not disturb pellet (often invisible). One smooth motion – pour off liquid into waste.

- Wash #1 (75% EtOH)

  - Add 500 µL ice-cold 75% EtOH down the tube wall.

  - Do not resuspend vigorously—just a gentle flick is fine.

  - Spin ≥15,000×g, 4 °C, 10 min; decant.

- Wash #2

  - Repeat 500 µL 75% EtOH, spin 10 min, decant completely.

  - Quick 10-s pulse spin; wick the last drop with a fine tip without touching the pellet.

- Dry & elute (no harsh drying)

  - Air-dry 3–5 min until pellet surface looks matte (avoid cracking/over-drying).

  - Add 30–50 µL pre-warmed (50–60 °C) 10 mM Tris-HCl pH 8.5 + 0.02–0.05% Tween-20.

  - Let stand 5–10 min at 50–60 °C; tap/flick gently to dissolve; brief spin to collect.

QC: Measure Qubit and Nanodrop. Target A260/A280 ~1.8 and A260/A230 ≥1.8. If A230 still low, do a chloroform (no phenol) back-extract followed by a quick 1× 2.5× EtOH re-precip (same gentle handling).

Extra ONT tips

- Store at 4 °C short-term or −20 °C (avoid repeated freeze–thaw; aliquot if needed).

- Avoid pipetting through narrow tips; when loading for library prep, pipette slowly.