Pro K Comparison Protocol

- Add 100mg of Pro-K powder to 5ml of nuclease-free water (100mg/5ml: 20mg/ml) and vortex for stock solution

- In 7 tubes, add 100, 95, 90, 85, 80, 75 and 70ul of water

- In each tube add 0, 5, 10 ,15, 20, 25, 30 ul of stock solution, respectively. Vortex.

- Measure 25mg of tissue and place in Eppendorf (x 24).

- Carry out tissue extraction of tissue as per usual protocol: 3 replicates of each conc. of powder source pro k + 3 replicates using Pro k solution

- Qubit conc. of DNA extracted and plot correlation.

| Stock | mg/ml | Final vol (ul) | Stock to add vol (ml) | Stock to add vol (ul) | Water to add (ul) |
| --- | --- | --- | --- | --- | --- |
| 100mg Pro K / 5ml NF water | 0 | 100 | 0 | 0 | 100 |
|  | 5 | 100 | 0.005 | 5 | 95 |
|  | 10 | 100 | 0.01 | 10 | 90 |
|  | 15 | 100 | 0.015 | 15 | 85 |
|  | 20 | 100 | 0.02 | 20 | 80 |
|  | 25 | 100 | 0.025 | 25 | 75 |
|  | 30 | 100 | 0.03 | 30 | 70 |