## Sheet1
eppendorf | sample_id | barcode_id | group | ng/ul_nanodrop | 260/280(1.8-2.0) | 260/230(1.2-1.6) | ng/ul_quibit | Summary | next step
964 | Pabay_NW_10/12/2021 | bougainvillia muscus | hydrozoa | 24.07 | 2.15 | 2.24 |  | Very good. | Tapestation
90 | Scalpay__16/6/2021 | Celleporella hyalina | bryoza | 11.98 | 2.7 | 0.44 |  | Poor | repeat extraction
850 | Pabay_C_21/12/2021 | Clytia hemisphaerica | hydrozoa | 14.51 | 1.93 | 0.59 |  | Marginal concentration, low 260/230 – likely needs clean-up. | AMPure/ethanol precip.
844 | Pabay_B_21/12/2021 | Ecotpleura larynx | hydrozoa | 89.29 | 2.23 | 2.27 |  | Excellent. | Tapestation
C | 15.7.22_rep_2_2/3_3 | electra pilosa | bryoza | 55.73 | 2.12 | 1.18 | 26.2 | Decent, slightly low 260/230 – minor contamination. | Tapestation but would benefit from AMPure bead clean up for long-read dat
F | 30.7.22-rep _3_1/2_1 | membranipora membranacea | bryoza | 67.75 | 2.09 | 1.28 | 18.3 | Acceptable, but 260/230 could be higher. | AMPure/ethanol precip.
D | 15.7.22_rep_1_2/3_1 | obelia dichotoma | hydrozoa | 30.83 | 2.27 | 1.8 | 30.2 | Pretty clean. | Tapestation
E | 15.7.22_rep_3_1/2_1 | obelia dichotoma | hydrozoa | 42.33 | 2.17 | 1.54 | 21.2 | Acceptable. | Tapestation
A | 15.7.22_rep_2_2/3_1 | obelia geniculata | hydrozoa | 15.28 | 3.62 | 1.24 | 27 | High 260/280, likely RNA contamination or measurement artifact. | repeat extraction
11139 | Scalpay_C_21/12/2021 | obelia longissima | hydrozoa | 58.11 | 1.9 | 1.03 |  | Good 260/280, low 260/230 – clean-up recommended. | AMPure/ethanol precip.
during extraction every 30min remove sample from heat block, put tubes in ice for 1minute, vortex for 10 seconds/30seconds vortex for longer if not lysing, then ice again after vortex for one minute - *freezethaw: lysis optimistaion
if its not lysing - after 2/3 rounds, increase heating to an hour, the increase ice to 2minutes, vortex for 30, Ice again 2 minutes, then back to heatblock