eDNA sampling protocol – Water Sampling

Consumables & equipment

- Zip-lock bags

- Cable ties (large + small)

- 50ml falcon tubes

- Silica beads

- Barrel filters

- Beaker/jug/duran bottle

- Spear & Jackson pump

Sampling preparation

- Place the required number of 50ml falcon tubes and silica beads into the PCR hood in 202

- Close the door and turn on UV light. Wait until UV turns off to continue

- Open the PCR hood

- Spray and clean the work surface with 70% ethanol

- Open 50 ml falcon tube inside of the hood

- Fill each 50ml falcon tube with approx. 5ml of silica beads and place into a zip-lock bag

- If sampling in duplicate – put both 50ml falcon tubes with silica beads in the same zip-lock bag

- Remove equipment from the hood

- Spray the work surface with 70% ethanol

- Close the PCR hood and turn on the UV

Sampling Protocol – On-site

- Fill beaker/jug/duran bottle with water (below the surface – arm’s length into the water column if possible)

- Fill the sprayer with approx. 3 – 5l of water

- Pump using the top handle to apply pressure inside (DO NOT OPEN ONCE PRESSURIZED)

- Pump approx. 500ml -  1l of water through the tubing

- Attach the barrel filter to the end of the tubing using a cable tie. Ensure you get this as tight as possible to stop the filter from falling off

- Pump approx. 500ml – 2l (entirely up to you through the filter)

- Place the barrel filter back into the packaging to dry (filter must be dry before proceeding to step 7)

- Place the barrel filter once dried into a 50ml falcon tube containing silica beads

- Place the falcon tube into the zip-lock bag

- Repeat steps 2 – 8 for each replicate at each site